CHERBICA PLUMBING ta 24 HOUR PLUMBING

31 E OVINA CRESSCENT

DANNA BAY

6500

CELL: 0826789292

[cherbicaplumbing@gmail.com](mailto:cherbicaplumbing@gmail.com)

12-04-2021

TO: KHAN TRUSTS

62 FAIREWAYS DRIVE

PINNACLE POINT ESTATE

MOSSELBAY

6500

ON INSPECTION IT WAS FOUND THAT STORM WATER DRAIN WAS BLOCKED.

THIS HAPPENED WHEN GRASS AND SAND COVERD A CATCH PITT. DRAIN FROM CATCH PITT WAS CUT OFF AND BLOCKED BEHIND CATCH PITT. DRAIN FROM TWO DIRECTIONS BLOCKED AT CATCH PITT.RESULTING IN STORM WATER TO SIDE AND FRONT OFF DWELLING NOT WORKING.

A NEW DRAIN FROMM CATH PITT WAS INSTALLED.THIS DISGARGES IN TO GARDEN.

THANKING YOU

CARL VAN VUUREN

082-678 9292